水产品养殖全过程中地西泮的污染现状及其研究概况

郑皓洁1，黄珂2*，李玲1*

（1.天津农学院 食品科学与工程学院，天津 300392；2.中国水产科学研究院南海水产研究所，广东 广州 510300）

摘要：地西泮作为我国不得在动物性食品中检出的一类兽药，却时常在水产品抽检中出现，给人类健康和生态环境带来极大的损害，因此开展地西泮残留检测和风险评价是食品质量安全控制中重要的环节。本文综述了我国渔业环境、水产品、渔用投入品等水产养殖全过程中地西泮的残留现状，分类讨论了地西泮检测常用的样品前处理技术和分析方法，阐述了生态环境和水产品中地西泮的风险评价概况，旨在为食品安全风险管控提供参考。

关键词：地西泮；水产品；渔业环境；安全风险评估；检测技术

Pollution status and research overview of diazepam in the whole process of aquatic product farming

ZHENG Haojie1, HUANG Ke2*, LI Ling1*

(1.Tianjin Agricultural University College of Food Science and Biological Engineering, Tianjin 300392,China; 2.South China Sea Fisheries Research Institute, Guangdong Guangzhou 510300,China)

Abstract:  As a type of veterinary drug that not allowed to be detected in animal food in country, diazepam is often found in samplings of aquatic products, causing great damage to human health and the ecological environment. Therefore, the detection of diazepam residues and risk assessments are important parts of food quality and safety control. This paper summarizes the current status of diazepam residues in the fishery environment, aquatic products, fishery inputs and other aquaculture in the whole peocess in China, category discusses the commonly used sample pretreatment techniques and detection techniques for diazepam residues in combination with relevant research. Thus providing an overview of the risk assessment of diazepam in the ecological environment and aquatic products, the aim is to provide a reference for food safety risk control.

Keywords: diazepam; aquatic products; fishery ecology; risk assessment; detection technology

水产品具有高蛋白、低脂肪，富含多种维生素和矿物质的特点，成为多数家庭健康的选择。根据国家统计局数据资料显示，2017-2021年我国水产品总产量呈现逐年上升趋势，其中养殖水产品在产量和增速上均高于捕捞水产品，逐步占据水产品总产量的主导地位。随着产量的增加，水产食品安全问题也逐渐受到人们重视。水产品在养殖和活体运输过程中易受环境的影响而产生应激反应，从而影响水产品的代谢。因此不良商家为提高水产品成活率[1]而选择在饲养过程中非法使用地西泮。地西泮，又名安定，是苯二氮卓类药物的一种[2]，具有镇静，抗惊厥等作用，常用于治疗失眠、焦虑症等疾病。地西泮还有降低水产品新陈代谢，抑制水产品活动的作用[3]。滥用会造成地西泮在水产品中残留，通过食物链蓄积毒性，被人体摄入后，造成记忆力受损、皮疹等不良反应，对人体的脑、肝脏、神经产生伤害[4]。

我国农业农村部在2019年发布的GB 31650-2019《食品安全国家标准 食品中兽药最大残留限量》中规定地西泮为允许做治疗用，但不得在动物性食品中检出的兽药。《2022年国家产地水产品兽药残留监控计划》中，将地西泮纳入检测指标，标志着农业农村部对未经批准使用的水产养殖兽药监管进一步增强。为全面了解地西泮在渔业环境及养殖水产品中的污染现状，进一步加强监管，本文总结归纳了渔业环境、水产品以及渔业投入品中地西泮的污染情况，对比不同的前处理方法和检测技术的优缺点，并对地西泮进行初步安全风险评估，以保障水产品食品质量安全，提供技术支持和参考依据。

1  地西泮污染情况

1.1  水产品中地西泮

根据农村农业部发布的国家产地水产品兽药残留检测数据显示，我国连续九年水产品兽药残留抽检合格率均在99%以上，2021年合格率高达99.9%。该数据表明我国水产品质量安全水平持续向好，但仍存在兽药残留的情况，尤其是地西泮频繁超标情况，广泛受到各界关注。张璇[5]等人在2020年对167个鱼、蟹、虾、贝样品进行检测，其中4.79%的是产品中含有地西泮；王守英[6]等在2018年对上海市场售卖的水产品进行了地西泮及其代谢物的检测，检测结果显示地西泮的残留多存在于鲫鱼等淡水鱼中，阳性样品约占样品总数的87%。据报道，山东省市场监督管理局在2021年发布关于15批次食品不合格情况的通报[7]，菏泽市曹县某市场鲫鱼检出地西泮。相关部门在今后的抽检中仍需加大对水产品中的地西泮检测的力度，避免不良商家别有用心，以保证人民的饮食安全。

1.2  水环境中地西泮

水污染是造成水产品中污染物残留的主要原因，近年来，药物活性化合物（PhACs）的污染问题已是环境科学界关注重点，PhACs是一类新型有机污染物，主要包括抗抑郁类、抗生素、抗真菌剂药物等[8]。地西泮作为PhACs在地表水、污水中被广泛检出[9-12]，地西泮及其代谢物质在水环境中即便极小的浓度也会对水生生物造成直接影响，污染物通过代谢与排泄、生物浓缩、生物富集，经过食物链传播，对人体造成二次伤害。Lei[13]等在珠江中取水和沉积物作为检测地西泮残留的样品，结果表明水样中地西泮检测率高达91.7%，沉积物检测42.9%；张力群[14]等在杭州随机采集的5份地表水中，检测出地西泮的浓度在0.4 ng/L～0.7 ng/L。水产养殖所用水大都来自地表水，所以水产品会受到地西泮的影响，造成体内残留富集。刘洋锋[15]等选取上海市的养殖池溏，对池塘中的水体进行检测，发现在60个样本中，有38个样本呈阳性，但未在水产品中检出地西泮。这说明我国地表水水体中地西泮残留具有一定的风险。相关部门需要引起重视。

1.3  渔用投入品中地西泮

使用含地西泮的鱼饵、饲料是渔业环境及水产品受污染的原因之一。杨光昕[16]等以23个地区的35个垂钓鱼饵为样本，采用高效液相色谱串联质谱法检测鱼饵中的地西泮，经检测发现在14个样品筛查出地西泮，占总样品的40%，检出率较高，且鱼饵中地西泮含量极高。根据农业农村部发布的数据，目前尚未在饲料抽检中抽查到地西泮残留的问题，但并不代表所有饲料、鱼饵质量过关。含有地西泮的渔用投入品不仅直接影响水产品质量，其残渣也将影响水产养殖环境，对消费者及生态系统具有潜在的危害。

2  地西泮的检测方法

2.1  样品前处理

在地西泮残留检测过程中，因为样品基质复杂，地西泮残留物含量较低，所以需要将待测样品匀浆，后进行提取、净化、浓缩等处理。目前在地西泮残留检测中常用的样品前处理技术主要有固相萃取法、QuEchERS法、免疫分析法。

2.1.1  固相萃取法

固相萃取是目标化合物被固体吸附剂吸附，使目标化合物与机体和干扰物分离，利用有机溶剂进行洗脱和富集，以达到分离和富集的目的[17]。通常选用乙酸乙酯、乙腈、乙腈-缓冲盐溶液进行提取，净化时对提取液采用正己烷去脂化，利用氮吹或涡旋至近干后再次溶解，也可选择C18柱、PSA进行净化提纯等。宿书芳[18]等人将固相萃取法应用到测定水产品中地西泮的前处理中，以乙腈作为提取剂，处理样品，经Prime HLB通过式固相萃取柱净化，在相应浓度范围内，地西泮线性关系良好；检测结果理想，适合应用于水产品的兽药残留检测。张昕[19]等利用MCX柱富集净化，ACQUITY BEH C18色谱柱分离。以甲醇-水洗脱对水样进行前处理操作，LOD为0.025 ng/L，LOQ为0.050 ng/L，回收率为99.3%～108.0%。该前处理方法操作简单，具有较高的回收率。

2.1.2  QuEchERS法

QuEchERS法是利用吸附填料与基质中杂质之间的互相作用来吸附杂质，从而使样品净化，具有简单、快速、价格低廉等特点[20]，是一种备受关注的样品前处理新技术。Songhee Hong[21]等利用QuEchERS法提取鱼中地西泮，回收率在110.65%～130.05%之间，在相应浓度内线性良好，适合作为鱼类兽残检测前处理方法。邹游[22]等利用QuEchERS法同时测定畜产品和水产产品肉质和内脏中氯丙嗪、地西泮、安眠酮的残留，以乙酸乙酯提取，C18、PSA和氨基填料净化，RSD为0.7%～11.6%；马丽莎[23]等利用QuEchERS法检测饲料中地西泮残留，方法加标回收率在86.3%～104.5%，相对标准偏差为1.4%～7.8%，完成一批前处理仅需30 min。该方法高效快速，适合大批次样品的快检。

2.1.3  免疫分析法

免疫磁珠法是分离和富集于一体的方法，富集净化包括吸附和洗脱两个过程[24]。桑丽雅[25]等将免疫磁珠法应用于样品的前处理，快速富集分离水产品中的地西泮。此种方法速度快，在25 min中内可快速完成样品的前处理，操作过程简单、方便。

前处理的方式不同，性质不同，表1总结了以上三种前处理方法的优缺点，可根据样品性质、数量选择合适的处理方法。

表1前处理方法优缺点

Table1 Comparison of advantages and disadvantages of pretreatment metheods

| 前处理方法 | 优点 | 缺点 |
| --- | --- | --- |
| 固相萃取法 | 可同时完成样品富集与净化；自动化批量处理；回收率高。 | 固相萃取小柱成本较高；对操作人员要求较高。 |
| QuEchERS法 | 检测速度快；回收率高；溶剂使用量少；操作方便；分析物范围广。 | 含水量低或脂肪含量高的样品的提取净化效果不理想。 |
| 免疫分析法 | 分离速度快；效率高；可重复性好。 | 价格昂贵 |

2.2  分析技术

2.2.1  气质联用法

气相色谱利用在同一温度下的不同化合物在流动相和固定相中分配系数的差异，不同化合物按时间先后从色谱柱中流出，以达分离目的，再经汽化钡离子检测器检测。农业部颁布的《动物性食品中地西泮和安眠酮多残留的测定 气相色谱-质谱法》（GB 29697-2013）中使用气相色谱-质谱法对动物性食品中的地西泮和安眠酮残留进行检测。Musavvir Arafat Mottaleb[26]等利用气相色谱-质谱联用法对市场所售鱼类进行兽药残留的检测，回收率均在80%～85%之间。因为前处理操作繁琐，此方法逐渐被取代。

2.2.2  液质联用法

液质联用法将液相色谱作为分离系统，质谱作为检测系统，利用不同离子在电磁场中的运动行为不同，根据不同质荷比把离子分开，得到质谱图，从而对样品进行定性和定量。常用的液质法有LC-MS/MS、HPLC-MS/MS、UPLC-MS/MS，具有灵敏度高、快速、准确度高的特点。由表2可知，不同液质法检测不同基质中的地西泮残留结果较为理想。相关系数R2＞0.99，水产品中地西泮检出限在0.01～0.5之间，饲料中地西泮检出限为0.4 μg·kg-1之间，均低于或等于GB 29697-2013《 食品安全国家标准 动物性食品中地西泮和安眠酮多残留的测定 气相色谱-质谱法》、NY/T 《饲料中盐酸异丙嗪、盐酸氯丙嗪、地西泮、盐酸硫利达嗪和奋乃静的同步测定 高效液相色谱法和液相色谱质谱联用法》所规定的检出限标准。说明液质联用法满足实际检测需求。

表2不同液质法检测不同基质中地西泮残留的结果对比

Table2 Comparison of detection results of diazepam residues in different substrates by different liquid chromatography tandem mass spectrometry methods for different substrate

| 基质 | 方法 | 检 出 限/ （μg·kg-1/μg·L-1) | 回收率/% | 相关系数 |
| --- | --- | --- | --- | --- |
| 鲫鱼肉[27] | LC-MS/MS | 0.05 | 95.3 | 0.9997 |
| 虾肉[28] | LC-MS/MS | 0.01 | 106.22 | 0.9989 |
| 鱼肉[29] | HPLC-ESI/MS/MS | 0.5 | 83.3～108.8 | 0.9975 |
| 水产品[30] | UPLC-MS/MS | 0.1 | 106.13～124.72% | 0.9989 |
| 水产品[31] | UPLC-Q-Orbitrap HRMS | - | 58.9～72.2 | 1.0000 |
| 环境水[14] | UPLC-MS/MS | 0.0001 | 88.3～98.4 | 0.9996 |
| 渔用饲料[32] | UPLC-MS/MS | 0.4 | 79.4～102.1 | 0.9986 |
| 动物饲料[33] | HPLC-ESI/MS/MS | 2 | 82～86 | 0.9956 |

2.2.3  酶联免疫吸附法

酶联免疫吸附法是利用试样中的地西泮抗原与包被于微孔板中的地西泮特异性抗体的免疫竞争性反应，加入显色底物和终止液，进行吸光度的测量，含量与颜色成反比。万宇平[34]等研发酶联免疫测试剂盒对饲料中地西泮的残留进行检测，回收率在71.5%～94.2%；安徽省市场监督局[35]在2020年8月发布的《动物组织中地西泮的残留测定 酶联免疫吸附法》应用到此种方法。王涓[36]等利用酶联免疫法快速检测猪和渔用饲料样品中地西泮、硝西泮等物质，回收率在70.9%～103.0%，批内批间变异系数均小于12.4%。该方法可用于大批量样品的定性分析。

2.2.4  胶体免疫层析法

胶体金作为示踪标记物，用于特异性抗原抗体反应的新型免疫标记分析技术。当前，胶体免疫层析法是水产品中地西泮快速检测的方法。桑丽雅[25]等建立了免疫磁珠-胶体免疫层析法检测水产品中的地西泮，回收率在78.34%～90.40%之间，RSD达到5.03%～8.96%，可作为有效的快速检测手段。

2.2.5  毛细管电泳法

毛细管电泳法是一种绿色分析技术，具有试剂消耗少、分析时间短、操作简单等优点，能够满足水产品中地西泮快速监测的要求。2013年，河北省质量技术监督局发布《饲料中苯巴比妥、艾司唑仑、地西泮以及盐酸氯丙嗪的检测毛细管电泳法》并转化到实际应用中，可对地西泮等四种镇静剂进行快速检测；王涛[37]等采用高效毛细管电泳法对饲料中地西泮等镇静药物进行检测，在优化条件下，11 min可实现分离检测，地西泮检测限为5 mg/kg，样品回收率在67.5%～98.2%。此种方法，可适用于大量样品的测定，检测结果精度较高。

3  地西泮的安全风险评估

地西泮及其代谢物作为新型污染物通常存在于水生环境中。Charles E.West [38]等研究发现地西泮在底泥中的半衰期高于60 d，并对生态系统中的半衰期进行了预测，保守估计在311±26 d。由于半衰期长，所以地西泮并不会引起急性毒性的环境影响，但由于地西泮的化学性质稳定，不易降解，所以地西泮会长时间地在水体中积累，蓄积在水生动物中，且通过生物浓缩、生物富集、食物链传播等方式对各级生物产生直接影响。Nunes B.[39]等发现当地西泮浓度在26.67 mg/L时，朱氏四爿藻的生长率受到抑制，且效果明显；当浓度增大到40 mg/L 时，其抑制率约为98%。Kwon[40]等检测到大菱鲆肝脏中地西泮的含量在23~110 ng/kg之间，此浓度高于地表水中的浓度，说明地西泮等会在鱼类组织中发生生物浓缩。风险评估通常通过风险熵数（RQ）作为衡量指标，RQ值是通过样品中浓度与预期的无效应浓度之比来计算，分为三个等级：低风险：0.01≤RQ＜0.1；中风险：0.1≤RQ＜1；高风险：RQ≥1。以此来判断污染物对环境的威胁[41]。Alvarez-Mora[42]等研究发现地西泮以中等RQs威胁无脊椎动物及鱼类；Brandão [43]等研究发现暴露在地西泮环境中的鱼鳃中GST活性增加，消化道中GRed抑制，此现象表明暴露于此环境的鱼类会引起细胞损伤；Overturf[44]等研究发现长期接触低浓度地西泮的斑点叉尾鮰会影响内分泌功能，改变基因表达。由此可见地西泮及其相关代谢物在水体中对各类生物造成了不可忽视的损伤，对地西泮生态评估急需针对性研究。水产品中地西泮风险评估可根据GB/T 27921-2011进行，包括风险识别、风险分析、风险评估。三者相互补充，缺一不可。在进行水产品评估时应进行全方面实时风险评估，考虑多种因素的影响。迄今为止，

4  总结与展望

我国渔业环境及水产品中的地西泮残留问题较为严峻，极大损害了消费者合法权益，药物滥用对水环境造成了威胁。因此急需对环境和水产品中的地西泮开展风险评估和管理的研究工作：规范养殖过程中兽药使用状况，严格遵守休药期；水产品上市前，有关监管部门需要进行抽检，符合标准方可进入市场；对于养殖环境中的药物残留，积极采取应对措施，从源头治理。目前在对地西泮的检测分析中涉及样品前处理和仪器检测两部分。前处理部分主要以固相萃取法和QuEChERS法为主，净化效果好，使用溶剂剂量少。未来发展中，可根据不同的基质，选择恰当的前处理方法进行联用，以避免单一方法的缺点，从而提高检测地西泮残留的水平。液质联用法因其检测结果可靠，精密度高，是检测地西泮残留常用的仪器检测方法。未来仍需要广大科研工作者继续努力，克服现有的分析检测方法的缺点和不足，以匹配适应政府监管部门、生产企业的实际需要。同时，建立健全相关食品安全监管体系，从根本上杜绝地西泮残留问题，对提高水产品的质量和实现可持续发展具有重要的意义。

参考文献

[1] Ke C, Liu Q, Li L,et al. Residual levels and risk assessment of eugenol and its isomers in fish from China markets[J]. Aquaculture, 2018, 484: 338-342.

[2] 邹叔骋, 王朝阳, 刘博,等. 地西泮对胶质瘤术后睡眠障碍患者神经内分泌免疫因子表达水平的影响[J]. 中国医师杂志, 2018, 20(11): 1692-1694.

ZHOU S P, WANG Z Y , LIU B,et al. Effect of diazepam on the expression of neuroendocrine immune factors in patients with sleep disorders after glioma surgery [J]. Journal of Chinese Physician, 2018, 20(11): 1692-1694.

[3] Zhang L, Wu P, Zhang Y,et al. A GC/MS method for the simultaneous determination and quantification of chlorpromazine and diazepam in pork samples[J]. Analytical methods, 2014, 6(2): 503-508.

[4] Capitan-Vallvey L, Ariza A, Checa R,et al. Liquid chromatography-mass spectrometry determination of six 5-nitroimidazoles in animal feedstuff[J]. Chromatographia, 2007, 65(5): 283-290.

[5] 张璇, 杨光昕, 孔聪,等. 高效液相色谱-串联质谱法测定水产品中镇静剂及其代谢物残留[J]. 分析化学, 2021, 49(03): 460-469.

ZHANG X, YANG G X, KONG C,et al. Determination of Tranquilizer and Their Metabolites Residues in Aquatic Products by High Performance Liquid Chromatography-Tandem Mass Spectrometry[J]. Chinese Journal of Analytical Chemistry, 2021, 49(03): 460-469.

[6] 王守英, 孔聪, 杨光昕,等. 上海市售水产品地西泮及去甲地西泮残留调查分析[J]. 农产品质量与安全, 2020(03): 31-35+67.

WANG S Y, KONG C, YANG G X,et al. Diazepam and nordazepam residue in the aquatic product from market in Shanghai[J]. Quality and Safrty of Agro-products, 2020(03): 31-35+67.

[7] 山东省市场管理局关于15批次食品不合格 情况的通报2021年第40期[EB/OL]. http://amr.shandong.gov.cn/art/2021/8/26/art_76551_10291227.html.

Notice of Shandong Provincial Market Administration on 15 batches of unqualified food, Issue 40, 2021 [EB/OL]. http://amr.shandong.gov.cn/art/2021/8/26/art_76551_10291227.html.

[8] 王硕, 刘建超, 郑超亚,等. 尾水受纳河流中PhACs在传统水相中的分布及环境风险[J]. 环境科学, 2019, 40(04): 1797-1802.

WANG S, LIU J C, ZHENG C Y,et al. Distributio and Environmental Risk of Pharmaceutically Active Compounds in the Traditionally Aqueous Phase of Effluent-receiving Rivers[J]. Environmental Science, 2019, 40(04): 1797-1802.

[9] Nogueira Nunes C, Egéa Dos Anjos V, Pércio Quináia S. Determination of Diazepam and clonazepam in Natural Water – a Voltammetric Study[J]. Electroanalysis, 2018.

[10] Nunes C N, Anjos V D, Quinaia S P. Are there pharmaceutical compounds in sediments or in water? Determination of the distribution coefficient of benzodiazepine drugs in aquatic environment[J]. Environmental Pollution, 2019, 251(AUG.): 522-529.

[11] Cunha D L, Da Silva A S, Coutinho R,et al. Optimization of ozonation process to remove psychoactive drugs from two municipal wastewater treatment plants[J]. Water, Air, & Soil Pollution, 2022, 233(2): 1-14.

[12] Wang C, Hou L, Li J,et al. Occurrence of diazepam and its metabolites in wastewater and surface waters in Beijing[J]. Environmental Science and Pollution Research, 2017, 24(18): 15379-15389.

[13] Lei H, Yao K, Yang B,et al. Occurrence, spatial and seasonal variation, and environmental risk of pharmaceutically active compounds in the Pearl River basin, South China[J]. Frontiers of Environmental Science & Engineering, 2023, 17(4): 1-13.

[14] 张力群, 金铨, 刘少颖,等. 超高效液相色谱-串联质谱法同时检测环境水中5种苯二氮卓类镇静剂药物[J]. 中国卫生检验杂志, 2018, 28(02): 142-145.

ZHANG L Q, JIN Q, LIU S Y,et al. Simultaneou determination of 5 benzodiazepine sedatives in enviroment water by liquid chromatography-tandem mass spectrometry[J]. Chinese Journal of Health Laboratory Technology, 2018, 28(02): 142-145.

[15] 刘洋锋, 孔聪, 张海燕,等. 基于高分辨质谱法筛查养殖水体中地西泮含量[J]. 食品安全质量检测学报, 2021, 12(08): 3300-3305.

LIU Y F, KONG C, ZHANG H Y,et al. Screening of diazepam content in aquaculture water based on high resolution mass spectrometry[J]. Journal of Foos Safety and Quality, 2021, 12(08): 3300-3305.

[16] 杨光昕, 汤云瑜, 程逸凡,等. 鱼饵料中地西泮含量调查及其对水产品养殖影响分析[J]. 中国渔业质量与标准, 2022, 12(04): 1-9.

YANG G X, TANG Y Y, CHENG Y F,et al. Investigation of diazepam content in fish bait and analysis of its impact on aquaculture[J]. Chinese Fishery Quality and Standards, 2022, 12(04): 1-9.

[17] 傅若农. 近年国内固相萃取-色谱分析的进展[J]. 分析试验室, 2007(02): 100-122.

FU R N. Advances on SPE-chromatography in China in recent two years[J]. Chinese Journal of Analysis Laboratory, 2007(02): 100-122.

[18] 宿书芳, 孙立臻, 薛霞,等. 通过式固相萃取-超高效液相色谱-串联质谱法测定水产品中地西泮[J]. 色谱, 2020, 38(07): 791-797.

SU S F, SUN L Z, XUE X,et al. Determination of diazepam in aquatic products by ultra performance liquid chromatography-tandem mass spectrometry with pass-through solid phase extraction[J]. Chinese Journal of Chromatigraphy, 2020, 38(07): 791-797.

[19] 张昕, 张晶, 邵兵. 固相萃取-超高效液相色谱-串联质谱法测定水中5种常用苯二氮卓类药物[J]. 中国食品卫生杂志, 2017, 29(06): 684-689.

ZHANG X, ZHANG J, SHAO B. Determination of five benzodiazepines in water by solid-phase extraction and ultra performance liquid chromatography-tandem mass spectrometry[J]. Chinese Journal of Health Laboratory Technology, 2017, 29(06): 684-689.

[20] 刘亚伟, 董一威, 孙宝利,等. QuEChERS在食品中农药多残留检测的应用研究进展[J]. 食品科学, 2009, 30(09): 285-289.

LIU Y W, DONG Y W, SUN B L,et al. Summary of Application of QuEChERS Method in Multi-residue Determination of Pesticides in Food[J]. Food Science, 2009, 30(09): 285-289.

[21] Songhee H, Namji K, Hui-Seung K,et al. Development of an Analytical Method for Detection of Anesthetics and Sedatives in Fish[J]. Journal of AOAC International(3): 3.

[22] 邹游, 邵琳智, 陈思敏,等. QuEChERS-高效液相色谱-串联质谱法测定动物源性食品中3种镇静剂残留[J]. 色谱, 2017, 35(08): 801-807.

ZOU Y, SHAO L Z, CHEN S M,et al. Determination of yhree tranquillizer residues in animal foods by QuEChERS-high performance liquid chromatography-tandem mass spectrometry[J]. Chinese Journal of Chromatograohy, 2017, 35(08): 801-807.

[23] 马丽莎, 尹怡, 谢文平,等. QuEChERS-气相色谱质谱法快速测定水产饲料中地西泮残留[J]. 中国渔业质量与标准, 2022, 12(03): 17-23.

MA L S, YIN Y, XIE W P,et al. Fast determination of Diazepam in Aquatic feed by Gas Chromatography-Mass Spectrometry Combined with QuEChERS[J]. Chinese Fishery Quality and Standards, 2022, 12(03): 17-23.

[24] 谢芳, 赖卫华, 史爱武,等. 免疫磁珠富集结合酶联免疫吸附法检测酱油中黄曲霉毒素B1[J]. 食品科学, 2013, 34(18): 165-169.

XIE F, LAI W H, SHI A W,et al. Immunomagnetic Based Enrichment and ELISA for Detection of Aflatoxin B1 in Sauce[J]. Food Science, 2013, 34(18): 165-169.

[25] 桑丽雅, 陈笑笑, 王扬,等. 基于免疫磁珠的胶体金免疫层析法快速检测水产品中地西泮残留[J]. 食品工业科技, 2020, 41(20): 255-260+284.

SANG L Y, CHEN X X, WANG Y,et al. Rapid Determination of Diazepam Residue in Aquatic Products by Immunomagnetic Beads-Colloidal Gold Immunochromatography Assy[J]. Science and Technology of Food Industry, 2020, 41(20): 255-260+284.

[26] Mottaleb M A, Stowe C, Johnson D R,et al. Pharmaceuticals in grocery market fish fillets by gas chromatography-mass spectrometry[J]. Food Chemistry, 2015, 190.

[27] 崔瑞霞, 宋润娜, 赵喜华. 同位素内标法快速筛查分析动物源性食品中地西泮残留[J]. 现代食品, 2021(12): 168-172.

CUI R X, SONG R N, ZHAO X H. Rapid Screening and Analysis of Diazepam Residues in Animal Derived Food by Isotope Internal Standard Method[J]. 现代食品, 2021(12): 168-172.

[28] 沈可伊, 邹晓霜, 王军. 高效液相色谱-串联质谱测定虾肉中四种兽药残留及其热稳定性分析[J]. 食品与发酵工业, 2022, 48(22): 263-268.

SHEN K Y, ZOU X S, WANG J. Determination of four veterinary drug residues in shrimp by high performance liquid chromatography-tandem mass spectrometry and thermal stability investigation[J]. Food and Fermentation Industries, 2022, 48(22): 263-268.

[29] Li J, Zhang J, Liu H,et al. A comparative study of primary secondary amino (PSA) and multi‐walled carbon nanotubes (MWCNTs) as QuEChERS absorbents for the rapid determination of diazepam and its major metabolites in fish samples by high‐performance liquid chromatography–electrospray ionisation–tandem mass spectrometry[J]. Journal of the Science of Food and Agriculture, 2016, 96(2): 555-560.

[30] 张秋云, 杨洪生, 谭秀慧,等. 液相色谱—串联质谱测定水产品中15种苯二氮卓类镇静剂的药物残留[J]. 食品与机械, 2022, 38(11): 60-67+94.

ZHANG Q Y, YANG H S, TAN X H,et al. Determination of the residues of 15 kinds of benzodiazepine sedatives in aquatic products by liquid chromatography tandem mass spectrimetry[J]. Food & Machinery, 2022, 38(11): 60-67+94.

[31] 李蓉, 杨璐齐, 张鹏云,等. 超高效液相色谱-四极杆/静电场轨道阱高分辨质谱快速筛查水产及水产加工品中24种镇静剂类药物[J]. 色谱, 2018, 36(02): 125-135.

LI R, YANG L Q, ZHANG P Y,et al. Rapid screening of 24 tranquillizer drugs in fish and fishery products by ultra-high performance liquid chromatography-quadrupole/electrostatic field orbitrap high resolution mass spectroscopy[J]. Chinese Journal of Chromatography, 2018, 36(02): 125-135.

[32] 杨霄, 李小玲, 索纹纹,等. 同位素稀释-超高效液相色谱串联质谱法测定渔用饲料中地西泮和安眠酮残留[J]. 饲料研究, 2022(19): 114-117.

YANG X, LI X L, SUO W W,et al. Determination of diazepam and mepranolone residues in fish feed by isotope dilution-ultra performance liquid chromatography-tandem mass spectrometry[J]. Feed Research, 2022(19): 114-117.

[33] 严丽娟, 张峰, 吴敏,等. UPLC-ESIMS/MS法测定动物饲料中苯二氮卓类药物[J]. 分析测试学报, 2011, 30(11): 1301-1305.

YAN L J, ZHANG F, WU M,et al. Determination of Benzodiazepines in Animal Feeds by UPLC-ESI MS/MS[J]. Journal of Instrumental Analysis, 2011, 30(11): 1301-1305.

[34] 万宇平, 吴小胜, 臧永军,等. 饲料中地西泮残留的酶联免疫检测试剂盒研制[J]. 贵州畜牧兽医, 2018, 42(06): 1-4.

WAN Y P, WU X S, ZANG Y J,et al. Development of an Enzyme-linked Immunosorbent Assay Kit for the Detection of Diazepam Residues in Feed[J]. Guizhou Journal of Animal Husbandry & Veterinary Medicine, 2018, 42(06): 1-4.

[35] 安徽省市场监督管理局. 动物组织中地西泮的残留测定 酶联免疫吸附法.

Anhui Provincial Market Supervison and Administration Bureau.Determination of diazepam residue in animal tissues Enzyme-linked immunosorbent assay.

[36] 王涓, 王玉莲, 袁宗辉,等. 苯二氮卓类单克隆抗体的制备及其在动物饲料和动物可食性组织中的ELISA快速检测方法研究[C]. 中国畜牧兽医学会2017年学术年会, 2017: 203.

WANG J, WANG Y L, YUAN Z H,et al. Preparation of Monoclonal Antibodies Against Benzodiazepines and Their Rapid Detection in Animal Feed and Edible Tissues by ELISA[C]. Chinese Society of Animal Husbandry and Veterinary Medicine Annual Academic Conference 2017, 2017: 203.

[37] 王涛, 韩芸, 滑鹏敏,等. 高效毛细管电泳法同时检测饲料中四种镇静类药物[J]. 河北省科学院学报, 2020, 37(03): 65-68.

WANG T, HAN Y, HUA P M,et al. Simultaneous determination of four sedative drugs in feed by high performance Capillary electrophoresis[J]. Journal of the Hebei Academy of Science, 2020, 37(03): 65-68.

[38] West C E, Rowland S J. Aqueous phototransformation of diazepam and related human metabolites under simulated sunlight[J]. Environmental science & technology, 2012, 46(9): 4749-4756.

[39] Nunes B, Carvalho F, Guilhermino L. Acute toxicity of widely used pharmaceuticals in aquatic species: Gambusia holbrooki, Artemia parthenogenetica and Tetraselmis chuii[J]. Ecotoxicology and Environmental Safety, 2005, 61(3): 413-419.

[40] Kwon J-W, Armbrust K L, Vidal-Dorsch D,et al. Determination of 17-ethynylestradiol, carbamazepine, diazepam, simvastatin, and oxybenzone in fish livers[J]. Journal of AOAC International, 2009, 92(1): 359-370.

[41] Lopez-Herguedas N, González-Gaya B, Castelblanco-Boyacá N,et al. Characterization of the contamination fingerprint of wastewater treatment plant effluents in the Henares River Basin (central Spain) based on target and suspect screening analysis[J]. Science of the Total Environment, 2022, 806: 151262.

[42] Alvarez-Mora I, Bolliet V, Lopez-Herguedas N,et al. Prioritization based on risk assessment to study the bioconcentration and biotransformation of pharmaceuticals in glass eels (Anguilla anguilla) from the Adour estuary (Basque Country, France)[J]. Environmental Pollution, 2022, 311: 120016.

[43] Brandão F, Rodrigues S, Castro B,et al. Short-term effects of neuroactive pharmaceutical drugs on a fish species: biochemical and behavioural effects[J]. Aquatic toxicology, 2013, 144: 218-229.

[44] Overturf C, Overturf M, Huggett D. Bioconcentration and endocrine disruption effects of diazepam in channel catfish, Ictalurus punctatus[J]. Comparative Biochemistry and Physiology Part C: Toxicology & Pharmacology, 2016, 183: 46-52.